## Contents
Table | Tab
S1: Key Terms Used in Reporting Templates | Key terms
S2: Reporting Template for Summary Report Module | Summary report
S3: Reporting Template for Toxicology Experiment Module | Toxicology Experiment
S4: Reporting Template for Mass Spectrometry Metabolomics Module | Mass spectrometry metabolomics
S5: Reporting Template for NMR metabolomics module | NMR metabolomics
S6: Reporting Template for Univariate Statistical Analysis Module | DAM-Univariate statistics
S7: Reporting Template for Multivariate Analysis Module | Multivariate statistics
S8: Reporting Template for Grouping and Read-across Module | Grouping for readacross

## Key terms
Table S1: Key Terms Used in Reporting Templates
| TERM | DESCRIPTION
Mandatory/optional column | mandatory | Reporting element is mandatory in all situtations
| mandatory if relevant | Reporting element is mandatory if the particular process is relevent
| mandatory if known | Reporting element is mandatory if the element is known
| mandatory if used | Reporting element is mandatory if the element is used
| optional | Up to the reporters discretion if the element is to be reported
Reporting element description column | Float | Value is a float
| Integer | Value is an integer
| Free text | Any text can be added but controlled vocabulary or ontology is encouraged if possible
| Value [float] and Unit [Free text] | For recording any measurement. Requires both the value of the measurement and the unit to be reported
| Option | Choice between of pre determined values
| Option (multiple can be chosen) | Choice between of pre determined values but more than one value can be chosen
| Table | Data in table format (e.g. .xlxs, .csv, .tsv)
| Free text (with plots and tables) | For reporting more complicated reporting elements that require plots and tables
| DOI | Digital Object Identifier System
| URL | Uniform Resource Locator (URL) - web address,
| CAS | CAS Registry Number
| SMILES | Simplified molecular-input line-entry system
| InChIKey | Hashed version of InChI chemical identifier

## Summary report
Table S2: Reporting Template for Summary Report Module | [5 empty] | REPORT IN THESE COLUMNS
DRAWN FROM WHICH MODULE | DERIVED FROM SECTION OF MODULE | REPORTING ELEMENT | MANDATORY / OPTIONAL | DESCRIPTION OF ELEMENT AND CONTROLLED VOCABULARY | EXAMPLE | REPORTING ELEMENT VALUE | REFERENCE TO ONTOLOGY TERM
Unique to Summary Report | Study identifier | Unique study identifier | Mandatory | Unique code | To discuss with OECD
| Links to related study records | Standardised toxicology dataset (e.g., linked to OECD test dataset) | Mandatory, if available | Unique code | e.g. IUCLID ESR
|  | Omics complete dataset (e.g., linked to MetaboLights, ArrayExpress,... accession number) | Mandatory, if available | Unique code | e.g. MTBLSxx
Toxicology Experiment Module | 3.1 Study Rationale | 1. Background information | Mandatory | Free text | Provide necessary background information for the end user to understand the rationale for why the study was undertaken, including the regulatory question(s).
|  | 2. Objectives | Mandatory | Free text | Clearly define the objectives of the metabolomic study toward informing the regulatory question. Describe whether the metabolomic study results are intended to be interpreted in isolation or in combination with results from other studies.
| 3.2 Test and Control Items | 1. Test item name | Mandatory | Free text | Diazinon
7. Test item-specific identifiers
|  | a. CAS | Mandatory | CAS format | 333-41-5
|  | b. SMILES | Mandatory | SMILES format | CCOP(=S)(OCC)OC1=NC(=NC(=C1)C)C(C)C
|  | c. IUPAC name | Mandatory | Free text | Diethoxy-(6-methyl-2-propan-2-ylpyrimidin-4-yl)oxy-sulfanylidene-λ5-phosphane
|  | d. Additional information where available, e.g. InChi, Distributed Structure-Searchable Toxicity (DSSTox) substance identifier (DTXSID), etc. | Mandatory | Free text | InChI=1S/C12H21N2O3PS/c1-6-15-18(19,16-7-2)17-11-8-10(5)13-12(14-11)9(3)4/h8-9H,6-7H2,1-5H3
|  | e. Sources of identifiers | Mandatory | Free text | https://pubchem.ncbi.nlm.nih.gov/compound/Diazinon
| 3.3 Test System Characteristics | 1. General characteristics of the test system or subject:
EITHER in vivo
|  | a. Animal species | Mandatory if used | Free text | Rat (Rattus norvegicus)
|  | b. Strain | Mandatory if used | Free text | Sprague Dawley
|  | c. Sex | Mandatory if used | Free text | Male
|  | d. Age during study | Mandatory if used | Free text | Adult
OR in vitro
|  | a. Cell type | Mandatory if used | Free text | -
|  | b. Origin (animal species/organ/tissue) | Mandatory if used | Free text | -
| 3.4 Study Design | 2. Dose selection
|  | a. Dose levels | Mandatory | Free text | 1, 10, 100 mg/kg
|  | b. Dose intervals | Mandatory | Free text | Repeated dose (daily)
|  | 5a. Number of biological replicates per treatment condition | Mandatory | Free text | 5
| 3.5 Treatment Conditions | 1. Route of administration | Mandatory | Free text | Oral
|  | 3. Vehicle description | Mandatory | Free text | DMSO
|  | 4. Exposure duration / schedule | Mandatory | Free text | 90-day exposure
| 3.6 Study Exit & Sample Collection | 1. Type of biological sample (in vitro: cells, cell media, etc.; in vivo: biofluid, cells, tissue, organ, organism in toto, etc.) | Mandatory | Free text | Liver
|  | 4a. Quench solvent | Mandatory | Free text | Liquid nitrogen (-80 degC)
Data Acquisition & Processing Reporting Module(s) | 4.1.1.1. / 4.2.1.1. Metabolite extraction from biofluids, cells and tissues | Extraction method general description | Mandatory | Free text | Protein crash using ice-cold 50:50 methanol:acetonitrile to extract polar metabolites, and protein crash using ice-cold propan-2-ol to extract non-polar metabolites.
| 4.1.3.2. / 4.2.3.2. Mass spectrometry / NMR spectroscopy assay type(s) | Mass spectrometry / NMR spectroscopy assay type | Mandatory | Option (multiple can be chosen): [Untargeted with relative quantification, Targeted with relative quantification only, Targeted with semi-quantification only, Targeted with absolute quantification only, Targeted with combination of quantification methods, Hybrid with relative quantification, Hybrid with combination of quantification methods] | Hybrid with relative quantification
|  | Mass spectrometry / NMR spectroscopy assay type description | Mandatory | Free text | Hybrid (or semi-targeted) LC-MS assays that incorporate a series of toxicologically relevant metabolic biomarkers as well as an untargeted component. Each sample is analysed using four assays: HILIC LC-MS (positive and negative ion modes) for analysis of polar metabolites, C18 LC-MS (positive and negative ion modes) for analysis of non-polar metabolites. DIA MS/MS analysis of QC samples for compound identification.
| 4.1.5. / 4.2.5. Demonstration of quality of metabolomics analysis | Was a System Suitability QC measured and Instrument performance report submitted? | Mandatory | Yes/No | Yes
|  | Was an Intrastudy QC measured and an Intrastudy QC reproducibility report submitted? | Mandatory | Yes/No | Yes
|  | Was an Intralaboratory QC measured and an Intralaboratory QC reproducibility report submitted? | Mandatory | Yes/No | No
|  | Was an Interlaboratory QC measured and an Interlaboratory QC reproducibility report submitted? | Mandatory | Yes/No | Yes
|  | Was a process blank measured and applied to the data processing? | Mandatory | Yes/No | Yes
| 4.1.6.3. / 4.2.6.3. Analytical confidence in the identity of each feature and/or metabolite | Summary of MSI level(s) of identification (1-4), across all features and/or metabolites | Mandatory | Free text | 152 identified metabolites (level 1), 850 annotated metabolites (level 2), 1034 annotated features (level 3), 1432 unknown features (level 4).
| 4.1.6.5. / 4.2.6.5. Analytical confidence in the quantity of each feature and/or metabolite | Summary of level(s) of quantification (1-3), across all features and/or metabolites | Mandatory | Free text | All features and metabolites were relatively quantified (level 3).
Data Analysis Reporting Module(s) | Data analysis approach | DARM(s) used | Mandatory | Option (select multiple) [DAM (Differentially Abundant Molecules using univariate methods), MVA (Multivariate statistical analysis), BMD (Benchmark dose)] | DAM
| Rationale for data analysis approach | What is purpose of applying the DARM(s) | Mandatory | Free text | DAM applied to determine which metabolites signficantly changed intensity following treatment with the test item.

## Toxicology Experiment
Table S3: Reporting Template for Toxicology Experiment Module |  |  |  |  | REPORT IN THESE COLUMNS
MRF Section | DECISION FILTER FOR REPORTING ELEMENT | REPORTING ELEMENT | MANDATORY / OPTIONAL | DESCRIPTION OF ELEMENT AND CONTROLLED VOCABULARY | REPORTING ELEMENT VALUE | REFERENCE TO ONTOLOGY TERM
3.1 Study Rationale
|  | 1. Background information | Mandatory | Free text
|  | 2. Objectives | Mandatory | Free text
|  | 3. Test Guideline compliance | Mandatory | Free text
|  | 4. Mechanistic understanding | Mandatory | Free text
|  | 5. Model selection | Mandatory | Free text
|  | 6. Dose level and dose interval selection | Mandatory | Free text
|  | 7. Route of administration | Mandatory | Free text
|  | 8. Time point selection | Mandatory | Free text
9. Samples and replicates
|  | a. Based on the scientific question posed and statistical power calculations predicting adequate coverage of biological variability. | Mandatory | Free text
|  | b. Number of technical and analytical replicates, based on accepted and/or published standards for the assay and compliance with statistical power calculations. | Mandatory | Free text
|  | 10. Limitations | Mandatory | Free text
3.2 Test and Control Items
|  | 1. Test item name | Mandatory | Free text
2. If test item is a mixture, report formulation composition
| Is test item a mixture? If yes, see reporting element details. If no, ignore | a. Identify substances that make up the mixture | Mandatory if used | Free text
| see above | b. Percentage of substances (if known) | Mandatory if known | Free text
3. Preparation of test item (composition):
|  | a. Concentration of test items | Mandatory | Free text
|  | b. Concentration of diluent(s) | Mandatory | Free text
|  | c. Identification of impurities | Mandatory | Free text
4. Physicochemical properties
|  | a. Appearance/physical state/colour | Mandatory | Free text
|  | b. Molecular weight | Mandatory | Free text
|  | c. Melting point/freezing point | Mandatory | Free text
|  | d. Boiling point | Mandatory | Free text
|  | e. pH | Mandatory | Free text
|  | f. Viscosity | Mandatory | Free text
|  | g. Density | Mandatory | Free text
|  | h. Vapor pressure | Mandatory | Free text
|  | i. Partition coefficient | Mandatory | Free text
|  | j. Water solubility | Mandatory | Free text
|  | k. Solubility in organic solvents/fat solubility | Mandatory | Free text
|  | l. Particle size distribution/fiber length and diameter distribution | Mandatory | Free text
|  | m. Additional physicochemical information (i.e., agglomeration, porosity, etc.) | Mandatory | Free text
5. Chemical stability
|  | a. Stability in organic solvents and identity of relevant degradation products | Mandatory | Free text
|  | b. Storage stability and reactivity towards container material | Mandatory | Free text
|  | c. Stability: thermal, sunlight, metals, if relevant | Mandatory | Free text
|  | d. Stability: dissociation constant, if relevant | Mandatory | Free text
6. Commercial source
|  | a. Vendor | Mandatory | Free text
|  | b. Manufacture ID | Mandatory | Free text
|  | c. Lot (Batch) number | Mandatory | Free text
|  | d. Purity | Mandatory | Free text
|  | e. Salt form | Mandatory | Free text
|  | f. Expiration date | Mandatory | Free text
|  | g. Storage conditions | Mandatory | Free text
7. Test item-specific identifiers
|  | a. CAS | Mandatory | Free text
|  | b. SMILES | Mandatory | Free text
|  | c. IUPAC name | Mandatory | Free text
|  | d. Additional information where available, e.g. InChi, Distributed Structure-Searchable Toxicity (DSSTox) substance identifier (DTXSID), etc. | Mandatory | Free text
|  | e. Sources of identifiers | Mandatory | Free text
3.3 Test System Characteristics
1. General characteristics of the test system or subject:
| Test system In vivo? If yes, see reporting element details. If no, ignore | In vivo
| see above | a. Animal species | Mandatory if used | Free text
| see above | b. Strain | Mandatory if used | Free text
| see above | c. Sex | Mandatory if used | Free text
| see above | d. Age during study | Mandatory if used | Free text
| see above | e. Developmental stage | Mandatory if used | Free text
| see above | f. Individual weights/lengths at start | Mandatory if used | Free text
| see above | g. Supplier | Mandatory if used | Free text
| see above | h. Any interventions that were carried out before or during the experiment | Mandatory if used | Free text
| see above | i. Quality criteria before use | Mandatory if used | Free text
| see above | j. Health status and acclimation prior to study start | Mandatory if used | Free text
| see above | k. Randomization of animals to groups | Mandatory if used | Free text
| see above | l. Identification | Mandatory if used | Free text
| see above | m. Other … | Optional | Free text
| Test system In vitro? If yes, see reporting element details. If no, ignore | In vitro
| see above | a. Cell type (cell line or primary cells, tumor cells, etc…) | Mandatory if used | Free text
| see above | b. Origin (animal species/organ/tissue) | Mandatory if used | Free text
| see above | c. Cell passage number | Mandatory if used | Free text
| see above | d. Differentiation stage | Mandatory if used | Free text
| see above | e. Absence of mycoplasma | Mandatory if used | Free text
| see above | f. Metabolic competence | Mandatory if used | Free text
| see above | g. Cell banking | Mandatory if used | Free text
| see above | h. Supplier | Mandatory if used | Free text
| see above | i. Quality criteria before use | Mandatory if used | Free text
| see above | j. Other… | Optional | Free text
2. Housing, husbandry and culture conditions
| Test system In vivo? If yes, see reporting element details. If no, ignore | In vivo
| see above | a. Type of facility (e.g. specific pathogen free [SPF]) | Mandatory if used | Free text
| see above | b. Type of cage or housing | Mandatory if used | Free text
| see above | c. Bedding material | Mandatory if used | Free text
| see above | d. Number of cage companions | Mandatory if used | Free text
| see above | e. Tank shape (for fish) and its material | Mandatory if used | Free text
| see above | f. Breeding programme | Mandatory if used | Free text
| see above | g. Light/dark cycle | Mandatory if used | Free text
| see above | h. Temperature | Mandatory if used | Free text
| see above | i. Quality of water (e.g. for aquatic toxicity tests) | Mandatory if used | Free text
| see above | j. Type of food (ingredients in food as detailed as possible) | Mandatory if used | Free text
| see above | k. Access to food and water | Mandatory if used | Free text
| see above | l. Environmental enrichment | Mandatory if used | Free text
| see above | m. Methods for fertilization/collection of eggs, if applicable | Mandatory if used | Free text
| see above | n. Other appropriate characteristics | Mandatory if used | Free text
| Test system In vitro? If yes, see reporting element details. If no, ignore | In vitro
| see above | a. Incubation characteristics:
| see above | - Temperature | Mandatory if used | Free text
| see above | - CO2/O2 conditions | Mandatory if used | Free text
| see above | - Humidity | Mandatory if used | Free text
| see above | - Other | Mandatory if used | Free text
| see above | b. State of the cells before use:
| see above | - Viability (including test used) | Mandatory if used | Free text
| see above | - Quality control | Mandatory if used | Free text
| see above | - Morphology | Mandatory if used | Free text
| see above | - Recommended confluency of use | Mandatory if used | Free text
| see above | - Other | Mandatory if used | Free text
| see above | c. Culture media (in case of multiple) | Mandatory if used | Free text
| see above | d. Use of serum (with details such as species of origin, age, sex, etc) | Mandatory if used | Free text
| see above | e. Use of antibiotics | Mandatory if used | Free text
| see above | f. Use of feeder cells | Mandatory if used | Free text
| see above | g. Use of matrixes or scaffolds | Mandatory if used | Free text
3.4 Study Design
|  | 1. 3Rs considerations | Mandatory | Free text
2. Dose selection
|  | a. Dose levels | Mandatory | Free text
|  | b. Dose intervals | Mandatory | Free text
Indicate:
|  | Dose interval (acute single or chronic dosing; in vitro: incubation time ). | Mandatory | Free text
|  | Time of day of dosing (in vitro: time of dosing after seeding). | Mandatory | Free text
|  | Frequency of dosing. | Mandatory | Free text
3. Description of the test method instruments, equipment, and reagents
|  | a. Commercial source, detailing the suppliers/manufacturers of instrumentation, other laboratory equipment and reagents relevant to the study. | Mandatory | Free text
|  | b. Manufacturer's instrument model identification. | Mandatory | Free text
|  | c. Manufacturer's reagent and kit information. | Mandatory | Free text
|  | d. Any special safety/handling requirements | Mandatory | Free text
4. Types of treatments
The study design report must include a description of the type(s) of treatment including:
|  | a. Controls: Defined as experimental samples derived from animals or cells treated with their respective dose formulation, in the absence of test article. All control types should be reported (i.e., positive control, negative control, vehicle control, blank, etc.) and following the criteria described in Section 2.2. Test and control items. | Mandatory | Free text
|  | b. Pre-treatments: Where necessary, a description of pre-treatments involving metabolic activation, for example of specific cytochromes(s) P450, should be provided. | Mandatory | Free text
|  | c. Acclimation: A brief description of animal acclimation should be reported to include the length of the acclimation period, health status of the test system, and environmental conditions. Relevant quarantine conditions should be described, where applicable. | Mandatory | Free text
|  | d. Types of replicates: The report should clearly define the number of biological replicates (samples derived from individual animals or cell samples), utilized for each dose level. This should be clearly delineable from any technical replicates generated, (the sample processed more than once) and/or analytical replicates (the same sample analysed more than once) (Blainey, Krzywinski et al. 2014). | Mandatory | Free text
5. Numbers of individuals/samples per treatment
|  | a. Clearly describe the number of biological replicates in each treatment condition. | Mandatory | Free text
|  | b. Describe the number of technical and analytical replicates. | Mandatory | Free text
6. Statistical design
|  | a. Exposure design | Mandatory | Free text
|  | b. Sampling schemes | Mandatory | Free text
|  | c. Sample blinding | Mandatory | Free text
7. Observations/examinations during treatment
|  | a. In-life cage-side or clinical observations, feed consumption, water consumption and body weight in for in vivo experiments | Mandatory | Free text
|  | b. Toxicokinetics | Mandatory | Free text
|  | c. Histopathology and organ weight | Mandatory | Free text
|  | d. Clinical pathology in in vivo experiments | Mandatory | Free text
|  | e. Reason animals were removed from the study | Mandatory | Free text
|  | f. Cytological analyses in in vivo experiments | Mandatory | Free text
|  | g. Cytobiological examinations in in vitro experiments (such as cell morphology and cytotoxicity testing) | Mandatory | Free text
|  | h. Transcriptomics, proteomics, etc. analysis in in vivo and in vitro experiments | Mandatory | Free text
8. Timetable
|  | a. Treatments | Mandatory | Free text
|  | b. Sample collections | Mandatory | Free text
|  | c. Time since last dose administered | Mandatory | Free text
|  | d. Time to sample extractions | Mandatory | Free text
3.5 Treatment Conditions
1. Route of administration
| Test system In vivo? If yes, see reporting element details. If no, ignore | In vivo
| see above | a. Oral
| see above | - Gavage | Mandatory if used | Free text
| see above | - Diet | Mandatory if used | Free text
| see above | b. Dermal | Mandatory if used | Free text
| see above | c. Inhalation (specify the type of exposure) | Mandatory if used | Free text
| see above | d. Implantation | Mandatory if used | Free text
| see above | e. Parenteral | Mandatory if used | Free text
| see above | f. Exposure regime, if applicable (static, semi-static, flow through) | Mandatory if used | Free text
| see above | g. Other … | Optional | Free text
| Test system In vitro? If yes, see reporting element details. If no, ignore | In vitro
| see above | a. Direct addition of the test item or a preparation of the test item to cultures | Mandatory if used | Free text
| see above | b. Substitution of culture medium | Mandatory if used | Free text
| see above | c. Exposure at the air-liquid interface | Mandatory if used | Free text
| see above | d. Other… | Optional | Free text
Describe any modifications of the standard culture/housing conditions occurring before and during the test item exposure (refer to ‘Housing, husbandry and culture conditions’ in section ‘Test System Characteristics’), in addition to:
| Test system In vivo? If yes, see reporting element details. If no, ignore | In vivo
| see above | a. Fasting period | Mandatory if used | Free text
| see above | b. Anesthesia and/or analgesia | Mandatory if used | Free text
| see above | c. Other … | Optional | Free text
| Test system In vitro? If yes, see reporting element details. If no, ignore | In vitro
| see above | a. Serum free or serum depleted medium | Mandatory if used | Free text
| see above | b. Use of items for limiting media evaporation | Mandatory if used | Free text
| see above | c. Other… | Optional | Free text
2. Test item preparation
|  | a. Dilution in a vehicle | Mandatory | Free text
|  | b. Preparation steps (warming, grinding, ……) | Mandatory | Free text
|  | c. Separation steps (centrifugation, decantation, filtration,…..) | Mandatory | Free text
|  | d. Extraction steps (for specific test items, such as medical devices) | Mandatory | Free text
|  | e. Storage conditions | Mandatory | Free text
|  | f. Stability during storage | Mandatory | Free text
|  | g. Expiration date | Mandatory | Free text
|  | h. Whether nominal or measured concentrations were used, if applicable | Mandatory | Free text
|  | i. Analytic controls on measured concentrations, if applicable | Mandatory | Free text
|  | j. Dosing solution homogeneity | Mandatory | Free text
Describe the procedures used to assess:
|  | a. Stability of the test substance under test conditions | Mandatory | Free text
|  | b. Solubility and stability in the solvent/vehicle | Mandatory | Free text
|  | c. Reactivity of the test substance with the solvent/vehicle or the cell culture medium, if applicable | Mandatory | Free text
|  | d. Impact of separation and extraction steps on integrity, homogeneity, concentration and stability of the prepared test item | Mandatory | Free text
| Test system In vivo? If yes, see reporting element details. If no, ignore | For in vivo studies, provide details about:
| see above | a. Procedures for test substance formulation/diet preparation | Mandatory | Free text
| see above | b. Procedures for generation of test atmosphere and chamber description | Mandatory | Free text
| see above | c. Achieved concentration | Mandatory | Free text
| see above | d. Stability and homogeneity of the preparation | Mandatory | Free text
| see above | e. Test material intake for dietary or drinking water studies Conversion from diet/drinking water or inhalation test substance concentration (ppm) to the actual dose (mg/kg body weight/day), if applicable. | Mandatory | Free text
|  | 3. Vehicle description and delivery volume | Mandatory | Free text
|  | 4. Exposure duration / schedule | Mandatory | Free text
5. Housing / culture conditions during treatment
|  | a. Temperature | Mandatory | Free text
|  | b. Humidity | Mandatory | Free text
|  | c. CO2 % | Mandatory | Free text
|  | d. pH | Mandatory | Free text
|  | e. Availability and quality of nutrients | Mandatory | Free text
|  | f. Other… | Optional | Free text
3.6 Study Exit & Sample Collection
1. Type of biological sample (in vitro: single cell, cell culture, 2D or 3D culture, single or multi type cell culture; in vivo: biofluid, cells, tissue, organ, organism in toto)
| Test system In vivo? If yes, see reporting element details. If no, ignore | In vivo
| see above | a. Anesthetic used: substance (e.g. isoflurane, ether), dosage, route of administration | Mandatory if used | Free text
| see above | b. Analgesic used: substance, dosage, route of administration | Mandatory if used | Free text
| see above | c. Method of euthanasia (e.g. carbon dioxide asphyxiation, exsanguination) | Mandatory if used | Free text
| see above | d. Phenotypic characteristics (e.g. body weight, organ weight) | Mandatory if used | Free text
| see above | e. Methods used for collection of biological sample (e.g. dissection, isolation of tissues or organs, etc.) | Mandatory if used | Free text
| Test system In vitro? If yes, see reporting element details. If no, ignore | In vitro
| see above | a. Cell density at time of harvesting | Mandatory if used | Free text
| see above | b. Growth phase/stage (e.g. cell cycle phase, if available) | Mandatory if used | Free text
| see above | c. Number of culture passage | Mandatory if used | Free text
| see above | d. Morphology | Mandatory if used | Free text
| see above | e. Methods used for collection of biological sample (e.g. removal of media, wash (see below), quench (see below), scrape into sampling vial, etc.) | Mandatory if used | Free text
2. Sampling vial
|  | a. Type of vial or tube | Mandatory | Free text
|  | b. Chemicals within the sample tube (EDTA, heparin, etc.) | Mandatory | Free text
|  | c. Chemicals added to preserve sample (nitrogen, argon, etc.) | Mandatory | Free text
3. Washing
|  | a. Wash solvent(s) | Mandatory | Free text
|  | b. Washing procedure (including temperature) | Mandatory | Free text
4. Quenching
|  | a. Quench solvent | Mandatory | Free text
|  | b. Quenching procedure (including temperature) | Mandatory | Free text
|  | 5. Pooling (or aliquoting) of samples | Mandatory | Free text
6. Sample storage and transport
|  | a. Post sample collection handling, prior to metabolite extraction | Mandatory | Free text
|  | b. Storage temperature and duration | Mandatory | Free text
|  | c. Transportation method (e.g. between experimental facilities) | Mandatory | Free text
|  | d. Number of freeze-thaw cycles | Mandatory | Free text
3.7 Sample Identification Codes
1. Laboratory information management system (LIMS)
|  | a. Software used for information management | Mandatory | Free text
2. Unique code for each sample
|  | a. Method of code generation | Mandatory | Free text
3. Information stored for each sample code:
|  | a. Sample name | Mandatory | Free text
|  | b. Sample source | Mandatory | Free text
|  | c. Sample storage | Mandatory | Free text
|  | d. Characterization | Mandatory | Free text
|  | e. Stability | Mandatory | Free text
|  | f. Vehicle and/or buffer | Mandatory | Free text
|  | g. Test item information | Mandatory | Free text
|  | h. Receiving date | Mandatory | Free text
|  | i. Test date | Mandatory | Free text
|  | j. Metadata | Mandatory | Free text
|  | k. Experimental results | Mandatory | Free text

## Mass spectrometry metabolomics
REPORT IN THESE COLUMNS
Section | DECISION FILTER FOR REPORTING ELEMENT | REPORTING ELEMENT | MANDATORY / OPTIONAL | DESCRIPTION OF ELEMENT AND CONTROLLED VOCABULARY | REPORTING ELEMENT VALUE | REFERENCE TO ONTOLOGY TERM
4.1.1. Sample processing, metabolite extraction and use of chemical reference standards
4.1.1.1. Metabolite extraction from biofluids, cells and tissues
Extraction method details |  | Extraction method general description | Mandatory | Free text
|  | Solvent(s) used, | Mandatory | Free text
|  | Means of agitation/maceration | Mandatory | Free text
|  | Temperatures and times | Mandatory | Free text
|  | Post extraction handling, e.g., storage temperature and duration of extracts. | Mandatory | Free text
4.1.1.2. Extract concentration and reconstitution in solvent for LC-MS, GC-MS, DIMS analysis
Derivatization method details | Was GC-MS used? If yes, see reporting element details. If no, ignore | Derivatization method general description | Mandatory if used | Free text
| See above | Reagents and reaction (including incubation temperature and time) | Mandatory if used | Free text
| See above | Clean-up/partitioning (if used). | Mandatory if used | Free text
Evaporation and reconstitution details |  | Evaporation and reconstitution method general description | Mandatory | Free text
|  | Final reconstitution solvent(s) and final volume (if used) | Mandatory if used | Free text
|  | Storage temperature (if relevant) | Mandatory if used | Free text
|  | Duration of reconstituted extracts (if relevant) | Mandatory if used | Free text
4.1.1.3. Addition of reference standard(s)
4.1.1.3.1. Internal reference standards for assessing the quality of sample extraction and/or mass spectrometry detection (quality assessment reference standards) | Was quality assessment reference prepared? If yes, see reporting element details. If no, ignore | Quality assessment reference standard general preparation description | Mandatory if used | col
| See above | Report in Table: Quality assessment standards (column descriptions below) | Mandatory if used | Table
|  | Column - Standard use (e.g. extraction or injection standard) | Mandatory | Table (column) - option: [Extraction standard, injection standard, other (provide details)]
|  | Column - Name | Mandatory | Table (column)
|  | Column - PubChem cid | Optional | Table (column)
|  | Column - HMDB id | Optional | Table (column)
|  | Column - KEGG id | Optional | Table (column)
|  | Column - CAS | Optional | Table (column)
|  | Column - InChi | Optional | Table (column)
|  | Column - InChiKey | Optional | Table (column)
|  | Column - SMILES | Optional | Table (column)
|  | Column - Purity | Mandatory if known | Table (column)
|  | Column - Supplier | Mandatory | Table (column)
|  | Column - Concentration | Mandatory | Table (column)
|  | Column - Point of addition in sample preparation procedure | Mandatory | Table (column)
4.1.1.3.2. Reference standards to aid metabolite annotation/identification only | Was a reference standard prepared to aid metabolite annotation/identification (only) - i.e. NOT used for quantification? If yes, see reporting element details. If no, ignore | Reference standards for metabolite annotation/identification general preparation description | Mandatory if used | Free text
| See above | Report in Table: Annotation/ID only standards (column descriptions below) | Mandatory if used | Table
|  | Column - Internal or external | Mandatory | Table (column) - option: [Internal, external]
|  | Column - Metabolite or metabolite class standard? | Mandatory | Table (column) - option: [metabolite standard, metabolite class standard]
|  | Column - Was surrogate used? If yes - then provide detail | Mandatory | Table (column)
|  | Column - Name | Mandatory | Table (column)
|  | Column - PubChem cid | Optional | Table (column)
|  | Column - HMDB id | Optional | Table (column)
|  | Column - KEGG id | Optional | Table (column)
|  | Column - CAS | Optional | Table (column)
|  | Column - InChi | Optional | Table (column)
|  | Column - InChiKey | Optional | Table (column)
|  | Column - SMILES | Optional | Table (column)
|  | Column - Purity | Mandatory if known | Table (column)
|  | Column - Supplier | Mandatory | Table (column)
|  | Column - Concentration | Mandatory | Table (column)
|  | Column - Point of addition in sample preparation procedure | Mandatory | Table (column)
4.1.1.3.3. Reference standards to aid metabolite annotation/identification AND quantification | Was a reference standard prepared to aid in metabolite annotation/identification AND quantification?If yes, see reporting element details. If no, ignore | Reference standards to aid metabolite annotation/identification and quantification preparation details | Mandatory if used | Free text
| See above | Report in Table: Quantification standards (column descriptions below) | Mandatory if used | Table
|  | Column - Use of standard | Mandatory | Table (column) - option: [Semi-quantification, absolute-quantification]
|  | Column - Metabolite or metabolite class standard? | Mandatory | Table (column) - option: [metabolite standard, metabolite class standard]
|  | Column - Internal or external | Mandatory | Table (column) - option: [Internal, external]
|  | Column - Was surrogate used? If yes - then provide detail | Mandatory | Table (column)
|  | Column - Matrix effect assessment | Mandatory | Table (column)
|  | Column - Name | Mandatory | Table (column)
|  | Column - PubChem cid | Optional | Table (column)
|  | Column - HMDB id | Optional | Table (column)
|  | Column - KEGG id | Optional | Table (column)
|  | Column - CAS | Optional | Table (column)
|  | Column - InChi | Optional | Table (column)
|  | Column - InChiKey | Optional | Table (column)
|  | Column - SMILES | Optional | Table (column)
|  | Column - Purity | Mandatory if known | Table (column)
|  | Column - Supplier | Mandatory | Table (column)
|  | Column - Concentration | Mandatory | Table (column)
|  | Column - Point of addition in sample preparation procedure | Mandatory | Table (column)
4.1.2. Analytical quality assurance and preparation of quality control samples
4.1.2.1. System suitability QC sample |  | Source | Mandatory | Free text
|  | Preparation details | Mandatory | Free text
|  | Storage conditions | Mandatory | Free text
|  | Days since preparation | Mandatory | Free text
4.1.2.2. Intrastudy QC sample |  | Source | Mandatory | Free text
|  | Preparation details | Mandatory | Free text
|  | Storage conditions | Mandatory | Free text
|  | Days since preparation | Mandatory | Free text
4.1.2.3. Intralaboratory QC sample (optional) | Was an intralab QC used? If yes, see reporting element details. If no, ignore | Source | Mandatory if used | Free text
| See above | Preparation details | Mandatory if used | Free text
| See above | Batch number | Mandatory if used | Free text
| See above | Certificate of analysis (COA) - if relevant | Mandatory if relevant | Free text
| See above | Storage conditions | Mandatory if used | Free text
| See above | Days since preparation | Mandatory if used | Free text
4.1.2.4. Interlaboratory QC sample (optional) | Was an interlab QC used? If yes, see reporting element details. If no, ignore | Source | Mandatory if used | Free text
| See above | Preparation details | Mandatory if used | Free text
| See above | Batch number | Mandatory if used | Free text
| See above | Certificate of analysis (COA) - if relevant | Mandatory if relevant | Free text
| See above | Storage conditions | Mandatory if used | Free text
| See above | Days since preparation | Mandatory if used | Free text
4.1.2.5. Process blank sample |  | Type of process blank | Mandatory | Free text
|  | Start and end points of the 'process' used to prepare | Mandatory | Free text
|  | Storage conditions | Mandatory | Free text
4.1.2.6 Assessment of sample matrix effects (optional) | Were sample matrix effects assessed? If yes, element should be reported | Method to assess matrix effects. | Mandatory | Free text
4.1.3. Acquisition of mass spectrometry metabolomics and metabolite data 4.1.3.1. Acquisition order for QC samples, biological samples and reference standard samples |  | Acquisition order of all types of QC samples and biological samples, thereby indicating the number of process blank samples, and the frequency of analysis of intrastudy QC samples. Report in Table: Aquisition order (column descriptions below) | Mandatory | Table
|  | Column - Run order | Mandatory | Table (column)
|  | Column - File name | Mandatory | Table (column)
|  | Column - Sample type (must be able to distinguish between QC samples, biological samples and process blanks) | Mandatory | Table (column)
4.1.3.2. Mass spectrometry assay type(s) |  | Mass spectrometry assay type(s) | Mandatory | Option (multiple can be chosen): [Untargeted with relative quantification, Targeted with relative quantification only, Targeted with semi-quantification only, Targeted with absolute quantification only, Targeted with combination of quantification methods, Hybrid with relative quantification, Hybrid with combination of quantification methods]
|  | Mass spectrometry assay type description | Mandatory | Free text
4.1.3.3. Instrument configuration(s) | NOTE: At least one of "LC-MS/MS", "GC-MS/MS" OR "DIMS/MS" has to have been chosen
4.1.3.3.1. LC-MS(/MS)
LC configuration | Was LC-MS(/MS) used? If yes, see reporting element details. If no, ignore | LC configuration description | Mandatory if used | Free text
| See above | LC manufacturer | Mandatory if used | Free text
| See above | LC model number/name | Mandatory if used | Free text
| See above | Software package(s) and version number(s) | Mandatory if used | Free text
| See above | Column and pre/guard column manufacturer | Mandatory if used | Free text
| See above | Column model number/name | Mandatory if used | Free text
| See above | Stationary phase composition and particle size | Mandatory if used | Free text
| See above | Column internal diameter and length | Mandatory if used | Free text
| See above | Injection vials or plate manufacturer and model number | Mandatory if used | Free text
MS configuration | Was LC-MS(/MS) used? If yes, see reporting element details. If no, ignore | MS configuration description | Mandatory if used | Free text
| See above | MS manufacturer | Mandatory if used | Free text
| See above | MS model number/name | Mandatory if used | Free text
| See above | Software package(s) and version number(s) | Mandatory if used | Free text
| See above | Ionisation source (ESI, APCI, APPI, etc.) | Mandatory if used | Free text
| See above | Type of mass analyser (triple quadrupole MS, Orbitrap, time-of-flight, FT-ICR, ion-trap, etc.) | Mandatory if used | Free text
4.1.3.3.2. GC-MS(/MS)
GC configuration | Was GC-MS(/MS) used? If yes, element should be reported | GC configuration description | Mandatory if used | Free text
| See above | GC manufacturer | Mandatory if used | Free text
| See above | GC model number/name | Mandatory if used | Free text
| See above | Software package and version number | Mandatory if used | Free text
| See above | Column manufacturer | Mandatory if used | Free text
| See above | Column model number/name | Mandatory if used | Free text
| See above | Stationary phase composition | Mandatory if used | Free text
| See above | Column internal diameter and length | Mandatory if used | Free text
| See above | Injection vials manufacturer and model number | Mandatory if used | Free text
| See above | Plates manufacturer and model number | Mandatory if used | Free text
MS configuration | Was GC-MS(/MS) used? If yes, see reporting element details. If no, ignore | MS configuration description | Mandatory if used | Free text
| See above | MS manufacturer | Mandatory if used | Free text
| See above | MS model number/name | Mandatory if used | Free text
| See above | Software package(s) and version number(s) | Mandatory if used | Free text
| See above | Ionisation source (EI, CI, APCI, etc.) | Mandatory if used | Free text
| See above | Electron energy | Mandatory if used | Free text
| See above | Source voltage | Mandatory if used | Free text
| See above | Source temperature | Mandatory if used | Free text
| See above | Gas flows | Mandatory if used | Free text
| See above | Type of mass analyser (quadrupole MS, Orbitrap, time-of-flight, FT-ICR, ion-trap, etc) | Mandatory if used | Free text
4.1.3.3.3. DIMS(/MS)
MS configuration | Was DI-MS(/MS) used? If yes, see reporting element details. If no, ignore | MS configuration description | Mandatory if used | Free text
| See above | MS manufacturer | Mandatory if used | Free text
| See above | MS model number/name | Mandatory if used | Free text
| See above | Software package(s) and version number(s) | Mandatory if used | Free text
| See above | Ionisation source (ESI, APCI, APPI, etc.) | Mandatory if used | Free text
| See above | Source voltage | Mandatory if used | Free text
| See above | Source temperature | Mandatory if used | Free text
| See above | Gas flows | Mandatory if used | Free text
| See above | Type of mass analyser (triple quadrupole MS, Orbitrap, time-of-flight, FT-ICR, ion-trap, etc.). | Mandatory if used | Free text
4.1.3.3. Instrument method(s)
4.1.3.3.1. LC-MS(/MS)
LC method | Was LC-MS(/MS) used? If yes, see reporting element details. If no, ignore | LC method description | Mandatory if used | Free text
| See above | LC method name | Mandatory if used | Free text
| See above | Mobile phase composition | Mandatory if used | Free text
| See above | Mobile phase flow rate | Mandatory if used | Free text
| See above | Composition of the wash solvent | Mandatory if used | Free text
| See above | Column temperature and pressure | Mandatory if used | Free text
| See above | Gradient profile | Mandatory if used | Free text
| See above | Amount of sample injected | Mandatory if used | Free text
MS method | Was LC-MS(/MS) used? If yes, see reporting element details. If no, ignore | MS method description | Mandatory if used | Free text
| See above | MS method name | Mandatory if used | Free text
| See above | MS acquisition mode(s) (full scan, MRM, SRM, DDA, DIA, MSn, etc.); | Mandatory if used | Option (multiple select) [full scan, MRM, SRM, DDA, DIA, MSn, (other - provide information)]
| See above | Polarity (positive or negative ion analysis) | Mandatory if used | Option (multiple select) [Positive, Negative]
| See above | m/z scan range | Mandatory if used | Free text
| See above | Mass resolution | Mandatory if used | Free text
| See above | Collision energies | Mandatory if used | Free text
| See above | Isolation width | Mandatory if used | Free text
| See above | Lock spray details | Optional | Free text
| See above | Source voltage | Mandatory if used | Free text
| See above | Source temperature | Mandatory if used | Free text
| See above | Gas flows | Mandatory if used | Free text
4.1.3.3.2. GC-MS(/MS)
GC method | Was GC-MS(/MS) used? If yes, see reporting element details. If no, ignore | GC method description | Mandatory if used | Mandatory
| See above | GC method name | Mandatory if used | Free text
| See above | inlet system (e.g. split/splitless) | Mandatory if used | Mandatory
| See above | inlet temperature (including whether constant or ramped) | Mandatory if used | Free text
| See above | Transfer line temperature | Mandatory if used | Free text
| See above | Gas flows and pressure | Mandatory if used | Free text
| See above | Temperature gradient | Mandatory if used | Free text
| See above | Amount of sample injected | Mandatory if used | Value [float] Unit [free text]
MS method | Was GC-MS(/MS) used? If yes, see reporting element details. If no, ignore | MS method description | Mandatory if used | Free text
| See above | MS method name | Mandatory if used | Free text
| See above | MS acquisition mode(s) (full scan, MRM, SRM, DDA, DIA, MSn, etc.); | Mandatory if used | Option (multiple select) [Full scan, MRM, SRM, DDA, DIA, MSn,other (please provide details)]
| See above | Polarity (positive or negative ion analysis) | Mandatory if used | Option (multiple select) [Positive, negative]
| See above | m/z scan range | Mandatory if used | Free text
| See above | Mass resolution | Mandatory if used | Free text
| See above | Lock spray details | Optional | Free text
| See above | Source voltage | Mandatory if used | Free text
| See above | Source temperature | Mandatory if used | Free text
| See above | Gas flows | Mandatory if used | Free text
4.1.3.2.3. DIMS(/MS)
MS method | Was LC-MS(/MS) used? If yes, see reporting element details. If no, ignore | MS method description | Mandatory if used | Free text
| See above | MS method name | Mandatory if used | Free text
| See above | MS acquisition mode(s) (full scan, MRM, SRM, DDA, DIA, MSn, etc.); | Mandatory if used | Option (multiple select) [Full scan, MRM, SRM, DDA, DIA, MSn other (please provide details)]
| See above | Polarity (positive or negative ion analysis) | Mandatory if used | Option (multiple select) [Positive, negative]
| See above | m/z scan range | Mandatory if used | Free text
| See above | Mass resolution | Mandatory if used | Free text
| See above | Lock spray details | Optional | Free text
| See above | Source voltage | Mandatory if used | Free text
| See above | Source temperature | Mandatory if used | Free text
| See above | Gas flows | Mandatory if used | Free text
4.1.4. Processing of metabolomics data
4.1.4.1. Centroiding, baseline correction and noise reduction (all optional)
Centroiding | Was centroiding performed? If yes, see reporting element details. If no, ignore | Software | Mandatory if used | Free text
| See above | Software version(s) | Mandatory if used | Free text
| See above | Algorithm(s)/method(s) | Mandatory if used | Free text
| See above | Parameter(s) | Mandatory if used | Free text
Baseline correction | Was baseline correction performed? If yes, see reporting element details. If no, ignore | Software | Mandatory if used | Free text
| See above | Software version(s) | Mandatory if used | Free text
| See above | Algorithm(s)/method(s) | Mandatory if used | Free text
| See above | Parameter(s) | Mandatory if used | Free text
Noise reduction | Was any noise reduction performed (not including centroiding and prior to feature detection)? If yes, see reporting element details. If no, ignore | Software | Mandatory if used | Free text
| See above | Software version(s) | Mandatory if used | Free text
| See above | Algorithm(s)/method(s) | Mandatory if used | Free text
| See above | Parameter(s) | Mandatory if used | Free text
4.1.4.2. Data reduction
Feature detection/feature picking |  | Software | Mandatory | Free text
|  | Software version(s) | Mandatory | Free text
|  | Algorithm(s)/method(s) | Mandatory | Free text
|  | Parameter(s) | Mandatory | Free text
Retention time alignment | Was retention time correction performed? If yes, see reporting element details. If no, ignore | Software | Mandatory if used | Free text
| See above | Software version(s) | Mandatory if used | Free text
| See above | Algorithm(s)/method(s) | Mandatory if used | Free text
| See above | Parameter(s) | Mandatory if used | Free text
Grouping | Was grouping performed performed? If yes, see reporting element details. If no, ignore | Software | Mandatory if used | Free text
| See above | Software version(s) | Mandatory if used | Free text
| See above | Algorithm(s)/method(s) | Mandatory if used | Free text
| See above | Parameter(s) | Mandatory if used | Free text
4.1.4.3. Feature intensity drift and/or batch correction
4.1.4.3.1. Assessment of the presence of within- and/or between-batch signal intensity drift (optional for absolute quantification/semi-quantification) | Was relative quantification acquired? Or was within- and/or between-batch signal intensity drift performed? If yes to either, see reporting element details | PCA scores plots showing biological and intrastudy QC samples before any correction applied | Mandatory if used | Plot and free text (This may need to be reported as a separate file)
| See above | PCA scores plot of just the intrastudy QC samples. | Mandatory if used | Plot and free text (This may need to be reported as a separate file)
4.1.4.3.2. Batch correction (optional): | Was batch correction performed? If yes, see reporting element details. If no, ignore | For each approach used - software and software version | Mandatory if used | Free text
| See above | For each approach used - algorithm/method | Mandatory if used | Free text
| See above | For each approach used - parameters | Mandatory if used | Free text
| See above | Evidence that batch correction has been successful (e.g. PCA scores plots showing intrastudy QCs). | Mandatory if used | Plot and free text (This may need to be reported as a separate file)
4.1.4.3.3. Signal intensity drift correction within a batch (optional) | Was signal intensity drift correction within batch performed? If yes, see reporting element details. If no, ignore | Software | Mandatory if used | Free text
| See above | Software version(s) | Mandatory if used | Free text
| See above | Algorithm(s)/method(s) | Mandatory if used | Free text
| See above | Parameter(s) | Mandatory if used | Free text
| See above | Evidence that the correction has been successful (e.g. PCA scores plots showing intrastudy QCs). | Mandatory if used | Plot and free text (This may need to be reported as a separate file)
4.1.4.4. Identification and removal (‘filtering’) of features
4.1.4.4.1. Removal of features that are sparsely detected across samples (optional) | Were features removed that were sparsely detected across samples? If yes, see reporting element details. If no, ignore | Software | Mandatory if used | Free text
| See above | Software version(s) | Mandatory if used | Free text
| See above | Algorithm(s)/method(s) | Mandatory if used | Free text
| See above | Parameter(s) | Mandatory if used | Free text
4.1.4.4.2 Filtering features for repeatability (optional) | Were features removed for repeatability? If yes, reporting element should not be ignored | Software | Mandatory if used | Free text
| See above | Software version(s) | Mandatory if used | Free text
| See above | Algorithm(s)/method(s) | Mandatory if used | Free text
| See above | Parameters (including RSD threshold) | Mandatory if used | Free text
4.1.4.4.3. Filtering for features for a proportional response function (i.e. linearity) (optional) | Were features removed by proportional response function (i.e. linearity)? If yes, see reporting element details. If no, ignore | Software | Mandatory if used | Free text
| See above | Software version(s) | Mandatory if used | Free text
| See above | Algorithm(s)/method(s) | Mandatory if used | Free text
| See above | Parameters (including correlation threshold) | Mandatory if used | Free text
4.1.4.4.4. Removal of features present in process blanks (optional) | Were features removed that were found to be present in the process blank? If yes, see reporting element details. If no, ignore | Software | Mandatory if used | Free text
| See above | Software version(s) | Mandatory if used | Free text
| See above | Algorithm(s)/method(s) | Mandatory if used | Free text
| See above | Parameters (i.e. threshold settings for their removal) | Mandatory if used | Free text
| See above | The features (m/z, intensities, retention time (if available)) detected in process blank should also be reported. Report Table: blank features (column descriptions below) | Mandatory if used | Table
|  | Column - feature ID | Mandatory | Table (column)
|  | Column - mz | Mandatory | Table (column)
|  | Column - intensity | Mandatory | Table (column)
|  | Column - Retention time (if available) | Mandatory if available | Table (column)
4.1.4.4.5. Removal of features from dosed substances (optional) | Were features removed that were or derived from dosed substances? If yes, see reporting element details. If no, ignore | Software | Mandatory if used | Free text
| See above | Software version(s) | Mandatory if used | Free text
| See above | Algorithm(s)/method(s) | Mandatory if used | Free text
| See above | Parameters | Mandatory if used | Free text
| See above | Features (m/z, intensities) detected from dosed substance(s) - Report Table: Dosed substance feature (column descriptions below) | Mandatory if used | Table
|  | Column - Feature ID | Mandatory | Table (column)
|  | Column - mz | Mandatory | Table (column)
|  | Column - Intensity | Mandatory | Table (column)
|  | Column - Retention time (if available) | Mandatory if available | Table (column)
4.1.4.5. Identification and removal (‘filtering’) of outlying samples
4.1.4.5.1. Removal of samples with a sparsely detected number of features (optional) | Were features removed that were sparsely detected? If yes, see reporting element details. If no, ignore | Software | Mandatory if used | Free text
| See above | Software version(s) | Mandatory if used | Free text
| See above | Algorithm(s)/method(s) | Mandatory if used | Free text
| See above | Parameters | Mandatory if used | Free text
| See above | Univariate outlier method and summary of number of feature intensity values excluded with justification (optional) | Mandatory if used | Free text
| See above | List of samples removed with justification for each. Report Table: Removal of samples with sparsley detected features (column descriptions below) | Mandatory if used | Table
|  | Column - Sample ID | Mandatory | Table (column)
|  | Column - Justification for removal | Optional | Table (column)
4.1.4.5.2. Removal of outlying samples (optional) | Were outlying samples removed? If yes, reporting element should not be ignored | Software | Mandatory if used | Free text
| See above | Software version(s) | Mandatory if used | Free text
| See above | Algorithm(s)/method(s) | Mandatory if used | Free text
| See above | Parameters | Mandatory if used | Free text
| See above | List of samples removed with justification for each. Report Table: Removal of outlying samples (column descriptions below) | Mandatory if used | Table
|  | Column - Sample ID | Mandatory | Table (column)
|  | Column - Justification for removal | Mandatory | Table (column)
4.1.4.6. Normalisation (Optional for absolute/semi-quantification) | Was relativate quantification data acquired? Or Was normalisation performed? If yes to either, see reporting element details | Software | Mandatory if used | Free text
| See above | Software version(s) | Mandatory if used | Free text
| See above | Algorithm(s)/method(s) | Mandatory if used | Free text
| See above | Parameters | Mandatory if used | Free text
4.1.4.7. Missing value imputation | Was missing value imputation performed? If yes, see reporting element details. If no, ignore | Reasons for missing values (if known) | Mandatory if used | Free text
| See above | Any patterns in missing value distribution (e.g. in m/z, RT, intensity, presence/absence in control group, if known) | Mandatory if used | Free text
| See above | Software | Mandatory if used | Free text
| See above | Software version(s) | Mandatory if used | Free text
| See above | Algorithm/method | Mandatory if used | Free text
| See above | Parameters (including threshold for sample/feature exclusion) | Mandatory if used | Free text
4.1.4.8. Normality testing, scaling and/or transformations (Optional for absolute/semi-quantification) | Was normality testing used? If yes, see reporting element details. If no, ignore | Software | Mandatory if used | Free text
| See above | Software version(s) | Mandatory if used | Free text
| See above | Algorithm/method | Mandatory if used | Free text
| See above | Parameters | Mandatory if used | Free text
| Was scaling or transformation performed? If yes, see reporting element details. If no, ignore | Software | Mandatory if used | Free text
| See above | Software version(s) | Mandatory if used | Free text
| See above | Algorithm/method | Mandatory if used | Free text
| See above | Parameters | Mandatory if used | Free text
4.1.4.9. Processing methods for metabolite quantification
4.1.4.9.1. Relative quantification - no reference standard available | Was relative quantification used? If yes, see reporting element details. If no, ignore | Software | Mandatory if used | Free text
| See above | Software version(s) | Mandatory if used | Free text
| See above | Algorithm/method | Mandatory if used | Free text
| See above | Parameters | Mandatory if used | Free text
4.1.4.9.2. Semi-quantification | Semi-quantification with external metabolite reference standard? If yes, see reporting element details. If no, ignore | Software | Mandatory if used | Free text
| See above | Software version(s) | Mandatory if used | Free text
| See above | Algorithm/method | Mandatory if used | Free text
| See above | Parameters | Mandatory if used | Free text
4.1.4.9.3. Absolute quantification | Absolute quantification with internal metabolite reference standard? If yes, see reporting element details. If no, ignore | Software | Mandatory if used | Free text
| See above | Software version(s) | Mandatory if used | Free text
| See above | Algorithm/method | Mandatory if used | Free text
| See above | Parameters | Mandatory if used | Free text
4.1.4.10. Processing methods for metabolite annotation and/or identification
|  | Description of metabolite annotation/identification method | Mandatory | Free text
|  | Software | Mandatory | Free text
|  | Software version(s) | Mandatory | Free text
|  | Algorithm(s)/method(s) - including method for calculating similarity between reference standard and biological sample (e.g. dot-product-cosine) if spectral matching performed | Mandatory | Free text
|  | Parameter(s) | Mandatory | Free text
|  | If reference standard used from in-house or external spectral library(ies) - spectral library(ies) used (and version(s) used - if known) | Mandatory if used | Free text
|  | Source of compound library(ies) (if used) (and version(s) used - if known) | Mandatory if used | Free text
4.1.4.11. Data processing workflow(s) (optional) | Was a data processing worfklow platform or script used? If yes, see reporting element details. If no, ignore | Data processing workflow platform used (e.g. Galaxy, KNIME, NextFlow, BASH script) | Mandatory if used | Free text
| See above | Version of workflow platform used | Mandatory if used | Free text
| See above | Dependency handling of the workflow(s) (e.g. Conda, Docker) | Mandatory if used | Free text
| See above | Data processing workflow(s) - either the script(s)/workflow file(s) or a reference to a URL or DOI of the script(s)/workflow file(s) | Mandatory if used | Free text
| See above | Data processing history(ies) or log(s) (optional) | Optional | Free text
4.1.5. Demonstration of quality of metabolomics analysis
4.1.5.1. Instrument performance report |  | Performance achieved using system suitability QC, relative to a laboratory’s acceptance criteria, to confirm instrumentation is fit for purpose. To include quantitative reporting of m/z shift; retention time shift (if applicable); peak shape; and/or peak intensity. | Mandatory | Plot and free text (This may need to be reported as a separate file)
4.1.5.2. Intrastudy QC reproducibility report |  | Measure of study reproducibility (analytical precision) achieved using intrastudy QC samples, relative to a laboratory’s acceptance criteria, to confirm analyses are of sufficient quality for regulatory purposes. To include quantitative reporting of the RSDs of feature intensity (mandatory) and m/z (optional), reported as the distribution and median of RSD values of all feature intensities across all intrastudy QC samples; and a qualitative assessment of the similarity of intrastudy QCs using PCA, reported as PCA scores, loadings, variance explained and cross-validation statistics (e.g. Q2 goodness-of-fit for test samples) from a global analysis of all the biological and intrastudy QC samples. | Mandatory | Plot and free text (This may need to be reported as a separate file)
4.1.5.3. Intralaboratory QC reproducibility report (optional) | Was an intralaboratory QC used If yes, see reporting element details. If no, ignore | Measure of intralab (and interstudy) reproducibility, using intralab QC samples, to assess any long term differences between separate studies within the laboratory. | Mandatory if used | Plot and free text (This may need to be reported as a separate file)
4.1.5.4. Interlaboratory QC reproducibility report (optional) | Was an intralaboratory QC used? If yes, see reporting element details. If no, ignore | Features (m/z, intensities) detected in interlab QC (e.g. defined features in a (standard) reference material). This reporting is likely to evolve as the community improves its use of interlab QC samples. | Mandatory if used | Plot and free text (This may need to be reported as a separate file)
| see above | Measure of interlab reproducibility, using interlab QC samples, to assess any differences between separate laboratories; i.e. performance standard achieved relative to specified amounts of metabolites. | Mandatory if used | Plot and free text (This may need to be reported as a separate file)
4.1.6. Data matrices from metabolomics assays: sample list, metabolite annotation/identification and intensities
4.1.6.1. Sample list |  | Report as Table: Sample list (column descriptions below) | Mandatory | Table
|  | For each biological sample - Unique biological sample identifier (e.g. a concatenation of selected parameters, such as: m(001)p(7d)DG0MOAXY where m = male, (001) = animal number, p = matrix (p=plasma), (7d) = day of sampling after study start, DG0 = dose group (0 = control group), MoAXY = study identifier of study XY); | Mandatory | Table (column)
|  | For each biological sample - Order of extraction of biological samples | Mandatory | Table (column)
|  | For each biological sample - order of mass spectrometric data acquisition; | Mandatory | Table (column)
|  | For each biological sample - whether the sample was removed during data processing (with justification). | Mandatory | Table (column)
4.1.6.2. Descriptors of the identity of each feature and/or metabolite
|  | Report in Table: Descriptors of the identity of each feature and/or metabolite (column descriptions below) | Mandatory | Table
|  | For each feature and/or metabolite - m/z | Mandatory | Table (column)
|  | For each feature and/or metabolite - retention time | Mandatory if relevant | Table (column)
|  | For each feature and/or metabolite - Ion form (i.e. adduct, isotope) | Mandatory if known | Table (column)
|  | For each feature and/or metabolite - fragmentation data | Mandatory if relevant | Table (column)
|  | For each feature and/or metabolite - molecular formula(e) of neutral metabolite | Mandatory if known | Table (column)
|  | For each feature and/or metabolite - calculated neutral mass | Mandatory if known | Table (column)
|  | For each feature and/or metabolite - common metabolite name | Mandatory if known | Table (column)
|  | For each feature and/or metabolite - structural code (e.g. standard InChI string or SMILES) | Mandatory if known | Table (column)
|  | For each feature and/or metabolite - common metabolite class name | Mandatory if relevant | Table (column)
4.1.6.3. Analytical confidence in the identity of each feature and/or metabolite |  | Report in Table: Analytical confidence in the identity of each feature and/or metabolite (column descriptions below) | Mandatory | Table
|  | For each feature and/or metabolite - MSI level of identification (1-4) | Mandatory | Table (column) - choice ["Level 1 - Identified compounds", "Level 2 - Putatively annotated compounds (e.g. without chemical reference standards, based upon physicochemical properties and/or spectral similarity with public/commercial spectral libraries)", "Level 3 - Putatively characterized compound classes (e.g. based upon characteristic physicochemical properties of a chemical class of compounds, or by spectral similarity to known compounds of a chemical class)", "Level 4 - Unknown compounds—although unidentified or unclassified these metabolites can still be differentiated and quantified based upon spectral data"]
|  | For each feature and/or metabolite - For level 4 only, indicate whether the unannotated feature is 'known known' or 'known unknown' | Mandatory if relevant | Table (column) - choice '[known known, unknown known]
|  | m/z experimental error from MS1 data (if relevant); | Mandatory if relevant | Table (column)
|  | Retention time error (if relevant); | Mandatory if relevant | Table (column)
|  | Score for metabolite identification derived from fragmentation data (if relevant). | Mandatory if relevant | Table (column)
4.1.6.4. Descriptors of the quantity of each feature and/or metabolite in each sample
Relative quantification: | Was relative quantification used? If yes, the see reporting element | Data matrix of all relatively quantified feature/metabolite intensities for all remaining samples (biological and intrastudy QCs), upon completion of data processing steps 4.1.4.1 to 4.1.4.6 Report in Table: Relative quantification (1 of 3) | Mandatory if used | Table
| see above | Data matrix, as above, upon completion of data processing steps 4.1.4.1 to 4.1.4.7 inclusive. Report in Table: Relative quantification (2 of 3) | Mandatory if used | Table
| see above | Data matrix, as above, upon completion of data processing steps 4.1.4.1 to 4.1.4.8 inclusive. Report in Table: Relative quantification (3 of 3) | Mandatory if used | Table
Semi- and/or absolute quantification: | Was semi or absolute quantification used? If yes, then see reporting element | Data matrix of all semi- and/or absolutely quantified metabolite intensities for all remaining samples (biological and intrastudy QCs), upon completion of data processing steps 4.1.4.1 to 4.1.4.8 inclusive. Report in Table: Semi/absolute quantification | Mandatory if used | Table
| See above | Quantification unit (e.g. ng/g wet weight) | Mandatory if used | Unit (free text)
4.1.6.5. Analytical confidence in the quantity of each feature and/or metabolite |  | Report in Table: Analytical confidence in the quantity of each feature and/or metabolite (column descriptions below) | Mandatory | Table
|  | For each feature and/or metabolite - level of quantification | Mandatory | Table (column) - choice Level 1 = absolute quantification Level 2 = semi-quantification Level 3 = relative quantification
|  | For each feature and/or metabolite - RSD of the technical variability of the feature/metabolite intensity derived from repeated measurements of a representative sample (e.g. intrastudy QC sample), where ‘representative’ means the same sample type and sample matrix as the biological samples. | Mandatory if relevant | Table (column)

## NMR metabolomics
Table S5: Reporting Template for NMR metabolomics module |  |  |  |  | REPORT IN THESE COLUMNS
MRF Section | DECISION FILTER FOR REPORTING ELEMENT | REPORTING ELEMENT | MANDATORY / OPTIONAL | DESCRIPTION OF ELEMENT AND CONTROLLED VOCABULARY | REPORTING ELEMENT VALUE | REFERENCE TO ONTOLOGY TERM
4.2.1. Sample processing, metabolite extraction and preparation of chemical reference standards
4.2.1.1. Metabolite extraction from biofluids, cells and tissues
Extraction method details |  | Extraction method general description | Mandatory | Free text
|  | Solvent(s) used | Mandatory | Free text
|  | Extraction times | Mandatory | Free text
|  | Means of agitation/maceration | Mandatory | Free text
|  | Temperatures and times; | Mandatory | Free text
|  | Post extraction handling, e.g., storage temperature and duration of extracts | Mandatory | Free text
4.2.1.2. Extract concentration and reconstitution in solvent for NMR analysis
Evaporation and reconstitution details |  | Evaporation and reconstitution method general description | Mandatory | Free text
|  | Reconstitution solvent(s) and final volume (if used) | Mandatory | Free text
|  | pH buffer type and concentration (if used) | Mandatory | Free text
|  | Storage temperature (if relevant) | Mandatory | Free text
|  | Duration of reconstituted extracts (if relevant) | Mandatory | Free text
4.2.1.3. Addition of reference standard(s)
4.2.1.3.1. Internal reference standards for assessing the quality of sample extraction (quality assessment reference standards) |  | Quality assessment reference standard general preparation description | Mandatory if used | Free text
|  | Report in Table: Quality assessment standards (column descriptions below) | Mandatory if used | Table
|  | Column - Standard use (e.g. extraction or injection standard) | Mandatory | Table (column) - option: [Extraction standard, injection standard, other (provide details)]
|  | Column - Name | Mandatory | Table (column)
|  | Column - PubChem cid | Optional | Table (column)
|  | Column - HMDB id | Optional | Table (column)
|  | Column - KEGG id | Optional | Table (column)
|  | Column - CAS | Optional | Table (column)
|  | Column - InChi | Optional | Table (column)
|  | Column - InChiKey | Optional | Table (column)
|  | Column - SMILES | Optional | Table (column)
|  | Column - Purity | Mandatory if known | Table (column)
|  | Column - Supplier | Mandatory | Table (column)
|  | Column - Concentration | Mandatory | Table (column)
|  | Column - Point of addition in sample preparation procedure | Mandatory | Table (column)
4.2.1.3.2. Reference standards to aid metabolite annotation/identification only | Was a reference standard prepared to aid metabolite annotation/identification (only) - i.e. NOT used for quantification? If yes, see reporting element details. If no, ignore | Reference standards for metabolite annotation/identification general preparation description | Mandatory if used | Free text
| See above | Report in Table: Quantification standards - for template (column descriptions below) - (column descriptions below) | Mandatory if used | Table
|  | Column - Internal or external | Mandatory | Table (column) - option: [Internal, external]
|  | Column - Metabolite or metabolite class standard? | Mandatory | Table (column) - option: [metabolite standard, metabolite class standard]
|  | Column - Was surrogate used? If yes - then provide detail | Mandatory | Table (column)
|  | Column - Name | Mandatory | Table (column)
|  | Column - PubChem cid | Optional | Table (column)
|  | Column - HMDB id | Optional | Table (column)
|  | Column - KEGG id | Optional | Table (column)
|  | Column - CAS | Optional | Table (column)
|  | Column - InChi | Optional | Table (column)
|  | Column - InChiKey | Optional | Table (column)
|  | Column - SMILES | Optional | Table (column)
|  | Column - Purity | Mandatory if known | Table (column)
|  | Column - Supplier | Mandatory | Table (column)
|  | Column - Concentration | Mandatory | Table (column)
|  | Column - Point of addition in sample preparation procedure | Mandatory | Table (column)
4.2.1.3.3. Reference standards to aid metabolite annotation/identification and quantification | Was a reference standard prepared to aid in metabolite annotation/identification AND quantification?If yes, see reporting element details. If no, ignore | Reference standards to aid metabolite annotation/identification and quantification preparation details | Mandatory if used | Free text
|  | Report in Table: Quantification standards (column descriptions below) | Mandatory if used | Table
|  | Column - Type of standard (e.g. external quantification reference such as Bruker QuantRef) | Mandatory | Table (column) - option: [Semi-quantification, absolute-quantification]
|  | Column - Internal or external | Mandatory | Table (column) - option: [Internal, external]
|  | Column - Metabolite or metabolite class standard? | Mandatory | Table (column) - option: [metabolite standard, metabolite class standard]
|  | Column - Was surrogate used? If yes - then provide detail | Mandatory | Table (column)
|  | Column - Name | Mandatory | Table (column)
|  | Column - PubChem cid | Mandatory | Table (column)
|  | Column - HMDB id | Optional | Table (column)
|  | Column - KEGG id | Optional | Table (column)
|  | Column - CAS | Optional | Table (column)
|  | Column - InChi | Optional | Table (column)
|  | Column - InChiKey | Optional | Table (column)
|  | Column - SMILES | Optional | Table (column)
|  | Column - Purity (if known) | Mandatory if known | Table (column)
|  | Column - Supplier | Mandatory if known | Table (column)
|  | Column - Concentration | Mandatory | Table (column)
|  | Column - Point of addition in sample preparation procedure | Mandatory | Table (column)
4.2.1.3.4. Chemical shift reference standard | Was chemical shift reference standard?If yes, see reporting element details. If no, ignore | Chemical shift reference standard preparation details | Mandatory if used | Free text
| If used | Report in Table: Chemical shift reference standard (column descriptions below) | Mandatory if used | Table
|  | Column - If internal or external standard | Mandatory | Table (column) - option: [Semi-quantification, absolute-quantification]
|  | Column - Metabolite or metabolite class standard? | Mandatory | Table (column) - option: [metabolite standard, metabolite class standard]
|  | Column - Was surrogate used? If yes - then provide detail | Mandatory | Table (column)
|  | Column - Name | Mandatory | Table (column)
|  | Column - PubChem cid (optional) | Mandatory | Table (column)
|  | Column - HMDB id (optional) | Optional | Table (column)
|  | Column - KEGG id (optional) | Optional | Table (column)
|  | Column - CAS (optional) | Optional | Table (column)
|  | Column - InChi (optional) | Optional | Table (column)
|  | Column - InChiKey (optional) | Optional | Table (column)
|  | Column - SMILES (optional) | Optional | Table (column)
|  | Column - Purity (if known) | Optional | Table (column)
|  | Column - Supplier | Mandatory if known | Table (column)
|  | Column - Concentration | Mandatory | Table (column)
|  | Column - Point of addition in sample preparation procedure | Mandatory | Table (column)
4.2.2. Analytical quality assurance and preparation of quality control samples
4.2.2.1. System suitability QC sample to assess NMR instrument calibration |  | Source(s) | Mandatory | Free text
|  | Preparation details | Mandatory | Free text
|  | Storage conditions | Mandatory | Free text
|  | Days since preparation | Mandatory | Free text
4.2.2.2. Intrastudy QC sample |  | Source | Mandatory | Free text
|  | Preparation details | Mandatory | Free text
|  | Storage conditions | Mandatory | Free text
|  | Days since preparation | Mandatory | Free text
4.2.2.3. Intralaboratory QC sample (optional) | Was an intralab QC used? If yes, see reporting element details. If no, ignore | Source | Mandatory | Free text
| See above | Preparation details | Mandatory | Free text
| See above | Batch number | Mandatory | Free text
| See above | Certificate of analysis (COA) - if relevant | Mandatory if relevant | Free text
| See above | Storage conditions | Mandatory | Free text
| See above | Days since preparation | Mandatory | Free text
4.2.2.4. Interlaboratory QC sample (optional) | Was an interlab QC used? If yes, see reporting element details. If no, ignore | Source | Mandatory | Free text
| See above | Preparation details | Mandatory | Free text
| See above | Batch number | Mandatory | Free text
| See above | Certificate of analysis (COA) - if relevant | Mandatory | Free text
| See above | Storage conditions | Mandatory | Free text
| See above | Days since preparation | Mandatory | Free text
4.2.2.5. Process blank sample (optional) | Was an process blank sample used? If yes, see reporting element details. If no, ignore | Type of process blank | Mandatory | Free text
| See above | Start and end points of the 'process' used to prepare | Mandatory | Free text
| See above | Storage conditions | Mandatory | Free text
4.2.3. Acquisition of NMR metabolomics and metabolite data
4.2.3.1. Acquisition order for QC samples, biological samples and reference standard samples |  | Acquisition order of all types of QC samples and biological samples, thereby indicating the number of process blank samples, and the frequency of analysis of intrastudy QC samples. Report in Table: Aquisition order (column descriptions below) | Mandatory | Table
|  | Column - Run order | Mandatory | Table (column)
|  | Column - File name | Mandatory | Table (column)
|  | Column - Sample type (must be able to distinguish between QC samples, biological samples and process blanks) | Mandatory | Table (column)
4.2.3.2. NMR spectroscopy assay type(s) |  | NMR assay type(s) | Mandatory | Free text
|  | NMR assay type description | Mandatory | Free text
4.2.3.2. NMR instrument configuration |  | NMR magnet manufacturer | Mandatory | Free text
|  | NMR magnet model number/name | Mandatory | Free text
|  | Magnetic field strength as proton NMR frequency | Mandatory | Free text
|  | NMR console manufacturer | Mandatory | Free text
|  | NMR model number/name | Mandatory | Free text
|  | Probe type (e.g. 5 mm RT probe) | Mandatory | Free text
|  | Probe manufacturer | Mandatory | Free text
|  | Probe model number/name | Mandatory | Free text
|  | Software packages and version number(s) | Mandatory | Free text
4.2.3.3. NMR method |  | Sample temperature °C | Mandatory | Free text
|  | Pulse sequence type (e.g., 1D ^1H NOESY presat) | Mandatory | Free text
|  | Sweep width (ppm) | Mandatory | Free text
|  | Pre-delay (i.e. relaxation delay) (seconds) | Mandatory | Free text
|  | Carrier frequency (MHz) | Mandatory | Free text
|  | 90-degree pulse width (microseconds) | Mandatory | Free text
|  | Number of accumulated scans | Mandatory | Free text
|  | Acquisition time (seconds) | Mandatory | Free text
|  | Confirm sample spinning not used. | Mandatory | Free text
4.2.4. Processing of untargeted NMR metabolomics data
4.2.4.1 Spectral pre-processing |  | Software version(s) used for NMR spectral pre-processing | Mandatory | Free text
|  | Forward and/or backward linear prediction and the number of points for each (if performed). | Mandatory if used | Free text
|  | Window function type and magnitude used for apodisation. | Mandatory | Free text
|  | Zero-filling original and final points count (if performed). | Mandatory if used | Free text
|  | Phasing method (manual or automatic) and parameters. | Mandatory | Free text
|  | Baseline correction method and parameters. | Mandatory | Free text
|  | Chemical shift calibration method used (manual or automatic). | Mandatory | Free text
4.2.4.2. Data reduction
Peak alignment and matching (if performed). | Was peak alignment and matching performed? If yes, see reporting element details. If no, ignore | Software | Mandatory if used | Free text
| See above | Software version(s) | Mandatory if used | Free text
| See above | Algorithm(s)/method(s) | Mandatory if used | Free text
| See above | Parameter(s) | Mandatory if used | Free text
Data reduction (i.e. binning) |  | Software | Mandatory | Free text
|  | Software version(s) | Mandatory | Free text
|  | Algorithm(s)/method(s) e.g. binning (fixed or variable width) using Bruker AMIX, Mnova NMR, etc. | Mandatory | Free text
|  | Parameter(s) | Mandatory | Free text
|  | Report the use of full resolution NMR spectra if data reduction was not performed. | Mandatory | Free text
Peak fitting |  | Software | Mandatory | Free text
|  | Software version(s) | Mandatory | Free text
|  | Algorithm(s)/method(s) e.g. using Bruker B.I.QUANT-UR software, Chenomx NMR Suite, etc. | Mandatory | Free text
|  | Parameter(s) | Mandatory | Free text
4.2.4.3. Resonance intensity drift and/or batch correction (mandatory report IF you used this procedure)
4.2.4.3.1. Assessment of the presence of within- and/or between-batch signal intensity drift (optional): | Was within- and/or between-batch signal intensity drift performed? If yes, see reporting element details. If no, ignore | PCA scores plots showing biological and intrastudy QC samples before any correction applied | Mandatory | Free text (with plots and tables)
| See above | PCA scores plot of just the intrastudy QC samples (optional). | Optional | Free text (with plots and tables)
4.2.4.3.2. Batch correction (optional): | Was batch correction performed? If yes, see reporting element details. If no, ignore | Software | Mandatory | Free text
| See above | Software version(s) | Mandatory | Free text
| See above | Algorithm(s)/method(s) | Mandatory | Free text
| See above | Parameter(s) | Mandatory | Free text
| See above | Evidence that batch correction has been successful (e.g. PCA scores plots showing intrastudy QCs). | Mandatory | Free text (with plots and tables)
4.2.4.3.3. Signal intensity drift correction within a batch (optional): | Was signal intensity drift correction within batch performed? If yes, see reporting element details. If no, ignore | Software | Mandatory | Free text
| See above | Software version(s) | Mandatory | Free text
| See above | Algorithm(s)/method(s) | Mandatory | Free text
| See above | Parameter(s) | Mandatory | Free text
| See above | Evidence that the correction has been successful (e.g. PCA scores plots showing intrastudy QCs). | Mandatory | Free text (with plots and tables)
4.2.4.4. Identification and removal (‘filtering’) of NMR resonances
4.2.4.4.1 Removal of resonances present in process blanks (optional): | Were resonances present in the process blank removed? If yes, see reporting element details. If no, ignore | Software | Mandatory | Free text
| See above | Software version(s) | Mandatory | Free text
| See above | Algorithm(s)/method(s) | Mandatory | Free text
| See above | Parameter(s) - including threshold settings for their removal | Mandatory | Free text
| See above | Resonances (chemical shift range(s)) detected in process blank(s), e.g., in solvent/buffer blank and extraction blank | Mandatory | Free text (with plots and tables)
4.2.4.4.2. Removal of resonances from dosed substances (optional): | Were resonances from dosed substances removed? If no, reporting element should be ignored | For each approach used - software and software version | Mandatory | Free text
| See above | For each approach used - algorithm/method | Mandatory | Free text
| See above | For each approach used - parameters | Mandatory | Free text
| See above | Resonances (chemical shift range(s)) detected in process blank(s), i.e. in solvent / buffer blank and extraction blank. | Mandatory | Free text (with plots and tables)
4.2.4.5. Identification and removal (‘filtering’) of outlying samples
4.2.4.5.1 Removal of samples with a sparsely detected number of resonances (optional) | Were features removed that were determined outliers? If yes, see reporting element details. If no, ignore | Software | Mandatory | Free text
| See above | Software version(s) | Mandatory | Free text
| See above | Algorithm(s)/method(s) | Mandatory | Free text
|  | Parameter(s) - including threshold settings for their removal | Mandatory | Free text
|  | Summary of number of feature intensity values excluded with justification (if relevant); list of outlying samples removed with justification for each. Report Table: Removal of samples with sparsley detected features (column descriptions below) | Mandatory | Table
|  | Sample ID | Mandatory | Table (column)
|  | Justification for removal | Mandatory | Table (column)
4.2.4.5.2 Removal of outlying samples (optional) | Were features removed that were determined outliers? If yes, see reporting element details. If no, ignore | Software | Mandatory | Free text
| See above | Software version(s) | Mandatory | Free text
| See above | Algorithm(s)/method(s) | Mandatory | Free text
Parameter(s)
|  | List of outlying samples removed with justification for each. Report Table: Removal of outlying samples(column descriptions below) | Mandatory | Table
|  | Sample ID | Mandatory | Table (column)
Justification for removal
4.2.4.6. Normalisation |  | Software | Mandatory | Free text
|  | Software version(s) | Mandatory | Free text
|  | Algorithm(s)/method(s) | Mandatory | Free text
|  | Parameter(s) | Mandatory | Free text
4.2.4.8. Normality testing, scaling and/or transformations | Was normality testing used? If yes, see reporting element details. If no, ignore | Software | Mandatory | Free text
| See above | Software version(s) | Mandatory | Free text
| See above | Algorithm(s)/method(s) | Mandatory | Free text
| See above | Parameter(s) | Mandatory | Free text
| Was scaling or transformation performed? If yes, see reporting element details. If no, ignore | Software | Mandatory | Free text
| See above | Software version(s) | Mandatory | Free text
| See above | Algorithm(s)/method(s) | Mandatory | Free text
| See above | Parameter(s) | Mandatory | Free text
4.2.4.8. Processing methods for metabolite quantification
4.2.4.8.1 - Relative quantification |  | Software | Mandatory | Free text
|  | Software version(s) | Mandatory | Free text
|  | Algorithm(s)/method(s) | Mandatory | Free text
|  | Parameter(s) | Mandatory | Free text
4.2.4.8.2 - Absolute quantification |  | Software | Mandatory | Free text
|  | Software version(s) | Mandatory | Free text
|  | Algorithm(s)/method(s) | Mandatory | Free text
|  | Parameter(s) | Mandatory | Free text
4.2.4.9. Processing methods for metabolite annotation and/or identification
4.2.4.9.1 - Method of annotating/identifying metabolite resonances when a metabolite reference standard is used |  | Type(s) of NMR data (e.g., 2D, 1D, etc.) used for metabolite annotation/identification. | Mandatory | Free text
|  | Software | Mandatory | Free text
|  | Software version(s) | Mandatory | Free text
|  | Algorithm(s)/method(s) for assessing similarity between reference standard and biological sample, and parameters used. | Mandatory | Free text
|  | Parameter(s) | Mandatory | Free text
|  | Whether reference standard was obtained from in-house or external spectral library | Mandatory if used | Free text
|  | If external spectral library(ies) were used - spectral library(ies) used (and version(s) - if known). | Mandatory if used | Free text
4.2.4.9.2 - Method of annotating metabolite resonances when no metabolite reference standard is available |  | Type(s) of NMR data (e.g., 2D, 1D, etc.) used for metabolite annotation/identification. | Mandatory | Free text
|  | Software | Mandatory | Free text
|  | Software version(s) | Mandatory | Free text
|  | Algorithm(s)/method(s) | Mandatory | Free text
|  | Parameter(s) | Mandatory | Free text
4.2.4.10. Data processing workflow(s) (optional) | Was a data processing worfklow platform or script used to run the analysis? If yes, see reporting element details. If no, ignore. | Data processing workflow platform used (e.g. Galaxy, KNIME, NextFlow, BASH script) | Mandatory if used | Free text
|  | Version of workflow platform used | Mandatory if used | Free text
|  | Dependency handling of the workflow(s) (e.g. Conda, Docker) | Mandatory if used | Free text
|  | Data processing workflow(s) - either the script(s)/workflow file(s) or a reference to a URL or DOI of the script(s)/workflow file(s) | Mandatory if used | Free text
|  | Data processing history(ies) or log(s) (optional) | Optional | Free text
4.2.5. Demonstration of quality of metabolomics analysis
4.2.5.1. Instrument performance report |  | Performance achieved using system suitability QC, relative to a laboratory’s acceptance criteria, to confirm instrumentation is fit for purpose. To include quantitative reporting of chemical shift reference peak full width at half height (FWHM), 90 degree pulse width, probe temperature variation (plus or minus value in oC)). Optional: Submission of a .pdf file containing an image(s) of aligned and stacked spectra for visual inspection is recommended to facilitate an assessment of the general quality of all spectra. | Mandatory | Free text (with plots and tables)
4.2.5.2. Intrastudy QC reproducibility report |  | Measure of study reproducibility (analytical precision) achieved using intrastudy QC samples, relative to a laboratory’s acceptance criteria, to confirm analyses are of sufficient quality for regulatory purposes. To include quantitative reporting of the RSDs of resonance intensities, reported as the distribution and median of RSD values of all resonance intensities across all intrastudy QC samples; and a qualitative assessment of the similarity of intrastudy QCs using PCA, reported as PCA scores, loadings, variance explained and cross-validation statistics (e.g. Q2 goodness-of-fit for test samples) from a global analysis of all the biological and intrastudy QC samples. | Mandatory | Free text (with plots and tables)
4.2.5.3. Intralaboratory QC reproducibility report (optional) | Was an intralaboratory assessment made? If yes, see reporting element details. If no, ignore | Measure of intralab (and interstudy) reproducibility, using intralab QC samples, to assess any long term differences between separate studies within the laboratory. | Mandatory | Free text (with plots and tables)
4.2.5.4. Interlaboratory QC reproducibility report (optional) | Was an intralaboratory assessment made? If yes, see reporting element details. If no, ignore | Features (m/z, intensities) detected in interlab QC (e.g. defined features in a (standard) reference material). This reporting is likely to evolve as the community improves its use of interlab QC samples. | Mandatory | Free text (with plots and tables)
| see above | Measure of interlab reproducibility, using interlab QC samples, to assess any differences between separate laboratories; i.e. performance standard achieved relative to specified amounts of metabolites. | Mandatory | Free text (with plots and tables)
4.2.6. Data matrices from metabolomics assays: sample list, metabolite annotation/identification and intensities
4.2.6.1. Sample list |  | Report as Table: Sample list (column descriptions below) | Mandatory | Table
|  | For each biological sample - Unique biological sample identifier (e.g. a concatenation of selected parameters, such as: m(001)p(7d)DG0MOAXY where m = male, (001) = animal number, p = matrix (p=plasma), (7d) = day of sampling after study start, DG0 = dose group (0 = control group), MoAXY = study identifier of study XY); | Mandatory | Table (column)
|  | For each biological sample - order of extraction of biological samples | Mandatory | Table (column)
|  | For each biological sample - order of NMR data acquisition; | Mandatory | Table (column)
|  | For each biological sample - whether the sample was removed during data processing (with justification). | Mandatory | Table (column)
4.2.6.2. Descriptors used to annotate/identify each resonance and/or metabolite
|  | Report in Table: Descriptors of the identity of each feature and/or metabolite (column descriptions below) | Mandatory | Table
|  | Chemical shift value(s) (ppm) for all relevant nuclei; | Mandarory | Table (column)
|  | Multiplicity/splitting pattern (e.g., doublet) for relevant 1H peak; | Mandatory | Table (column)
|  | Molecular formula (if known); | Mandatory if known | Table (column)
|  | Common metabolite name (if known); | Mandatory if known | Table (column)
|  | Structural code (e.g. standard InChI string or SMILES) (if known); | Mandatory if known | Table (column)
|  | Metabolite identifier(s) from relevant database(s) (e.g. PubChem, HMDB); | Mandatory if known | Table (column)
|  | Common metabolite class name (if relevant). | Mandatory if relevant | Table (column)
4.2.6.3. Analytical confidence in the identity of each feature and/or metabolite |  | Report in Table: Analytical confidence in the identity of each feature and/or metabolite (column descriptions below) | Mandatory | Table
|  | For each feature and/or metabolite - MSI level of identification (1-4) | Mandatory | Table (column) - choice ["Level 1 - Identified compounds", "Level 2 - Putatively annotated compounds (e.g. without chemical reference standards, based upon physicochemical properties and/or spectral similarity with public/commercial spectral libraries)", "Level 3 - Putatively characterized compound classes (e.g. based upon characteristic physicochemical properties of a chemical class of compounds, or by spectral similarity to known compounds of a chemical class)", "Level 4 - Unknown compounds—although unidentified or unclassified these metabolites can still be differentiated and quantified based upon spectral data"]
|  | For each feature and/or metabolite - For level 4 only, indicate whether the feature is a ‘known unknown’ or not. The MRF defines a ‘known unknown’ as meaning a consistency observed feature in the sample matrix under investigation that has been detected repeatedly in one or more laboratories. | Mandatory | Table (column) - choice '[known known, unknown known]
4.2.6.4. Descriptors of the quantity of each feature and/or metabolite in each sample
Relative quantification: | Was relative quantification used? If yes, see reporting element details. If no, ignore | Data matrix of all relatively quantified feature/metabolite intensities for all remaining samples (biological and intrastudy QCs), upon completion of data processing steps 4.1.4.1 to 4.14.6 inclusive. Report in Table: Relative quantification (1 of 2) | Mandatory if used | Table
| see above | Data matrix, as above, upon completion of data processing steps 4.1.4.1 to 4.1.4.7 inclusive. Report in Table: Relative quantification (2 of 2) | Mandatory if used | Table
Absolute quantification | Was absolute quantification used? If yes, see reporting element details. If no, ignore | Data matrix of all absolutely quantified metabolite intensities for all remaining samples (biological and intrastudy QCs), upon completion of data processing steps 4.2.4.1 to 4.2.4.8 (as relevant), inclusive. Report in Table: Absolute quantification | Mandatory if used | Table
| see above | Quantification unit (e.g. ng/g wet weight). | Mandatory if used | Free text
4.2.6.5. Analytical confidence in the quantity of each resonance and/or metabolite |  | Report in Table: Analytical confidence in the quantity of each feature and/or metabolite (column descriptions below)
|  | for each feature and/or metabolite - level of quantification | Mandatory | Table (column) - choice Level 1 = absolute quantification (Level 2 not used) Level 3 = relative quantification
|  | for each feature and/or metabolite - RSD of the technical variability of the feature/metabolite intensity derived from repeated measurements of a representative sample (e.g. intrastudy QC sample), where ‘representative’ means the same sample type and sample matrix as the biological samples. | Mandatory if relevant | Table (column)

## DAM-Univariate analysis
Table S6: Reporting Template for Univariate Statistical Analysis Module |  |  |  | REPORT IN THESE COLUMNS
MRF Section | REPORTING ELEMENT | MANDATORY / OPTIONAL | DESCRIPTION OF ELEMENT AND CONTROLLED VOCABULARY | REPORTING ELEMENT VALUE | REFERENCE TO ONTOLOGY TERM
5.1 Discovery of Differentially Abundant Molecules (using univariate methods) Module
5.1.1. Statistical software | Name(s) and version(s) of the software used. | Mandatory | Free text
| Name(s), version(s), and hyperlink(s) for download of all add-ons, plug-ins, packages, or libraries. If download hyperlink is not available, the operator shall state “this library is not available for download”. | Mandatory | Free text
| If download hyperlink is not available, the operator should make source code and binary (if applicable) available as specified later in this module | Optional | Free text
5.1.2. Contrasts for which differentially abundant molecules were identified | Table or listing that must include: Each factor, and level within each factor. | Mandatory | Table
| A description or table that must include: Each group or factor listed per section 5.1.2 in MRF and: The number of samples used for discovering DAMs in each group or factor at a minimum. Should include the sample IDs that can be used to match across the report. Identification of which samples may exhibit covariance (examples include: assayed on the same day, assayed in parallel, assayed on the same physical platform (e.g., chip/glass slide, cartridge, etc. for transcriptomics; LC-MS analytical batch, etc. for metabolomics), processed using the same wash solutions or reagents, processed using the same master mixes (transcriptomics only), littermates in the exposure study, animals which are housed together, etc.). An explicit statement if there is no reason to believe covariance exists between samples, and a justification to support this assertion. Identification if any samples are technical replicates of each other, and how those samples are technical replicates (i.e., define what makes the samples technical replicates). | Mandatory | Free text
5.1.4. Statistical analysis to identify differentially abundant molecules | The name and description of the statistical approach Operators must clearly state all data transformations (e.g., log2 transformation) that are performed in the course of analysis. Operators must also declare if no data transformations were performed to ensure clarity. If using a general linear model, general linear mixed model, ANOVA, or something similar, the operator must specify the effects being modeled including all fixed and random effects, as well as their interactions, if any, and any nesting. If using a pairwise comparison approach, such as a Wald’s test, Student’s or Welch’s t-test, or non-parametric analogues, the operator must specify what values are being used (model-based values from methods in section 5.1.4.1.b for MRF or the transformed/non-transformed values without adjustment from a model). If using a Bayesian approach, then standard reporting requirements are required, including specification of any priors, explicit specification of the posterior, specification of what is being modelled to discover the DAMs. | Mandatory | Free text
| Specify the decision criteria for discovering the DAMs If using a p-value criteria Is multiple-testing correction being performed? Yes: specify the nominal alpha value, the multiple-testing correction method (exact type, e.g. Bonferroni for family wise error rate correction or Benjamini & Hochberg for false discovery rate control), and any adjusted threshold value, No: specify the nominal alpha value and the p-value threshold. In addition, justify why a multiple-testing correction has not been performed. | Mandatory | Free text
| If using a fold-change or log fold-change criterion, specify the level (e.g., 2x change). | Mandatory if used | Free text
| If using another approach for ranking and prioritization, specify the procedure clearly such that anyone could replicate the work should it be necessary. | Mandatory if used | Free text
| If using a mixture of approaches (e.g., fold-change followed by p-value) then specify the exact order of operations and how the decision criterion is applied – this should be written clearly such that anyone could replicate this work should it be necessary. | Mandatory if used | Free text
5.1.5. Outputs | Operator must submit a file manifest (either within a report, or as a separate file titled MANIFEST.xyz where .xyz is an appropriate file extension (.txt if a text file, .md if a markdown file, .html if an html file, .pdf if a pdf file) The manifest must include the listing of all files included in the regulatory application package specific to the DAM data. Each file in the manifest must be accompanied by a description of the file If the file being described is a tabular file, then the rows and columns must be described so that anyone can understand the contents of the file. The manifest file must be in a standard format that is easily readable in non-proprietary software. The manifest file must not be in a binary format, such as Word, Excel, or other formats that require special software that is not freely available, or where the format might change significantly and not be backwards compatible (e.g., Excel and Word files are binary formats and although freeware exists that can read these files, they may not be able to be read easily in the future). | Mandatory | Free text

## MVA-Multivariate analysis
Table S7: Reporting Template for Multivariate Analysis Module |  |  |  | REPORT IN THESE COLUMNS
MRF Section | REPORTING ELEMENT | MANDATORY / OPTIONAL | DESCRIPTION OF ELEMENT AND CONTROLLED VOCABULARY | REPORTING ELEMENT VALUE | REFERENCE TO ONTOLOGY TERM
5.2. Multivariate Statistical Analysis Module
5.2.1. Software, method and parameters | Name(s) and version(s) of the software used. | Mandatory | Free text
| Name(s), version(s), and hyperlink(s) for download of all add-ons, plug-ins, packages, or libraries. If download hyperlink is not available, the operator shall state “this library is not available for download”. | Mandatory | Free text
| If download hyperlink is not available, the operator should make source code and binary (if applicable) available as specified later in this module | Optional | Free text
5.2.2. Experimental conditions for which differentially abundant molecules were identified | A table or listing that must include: Each factor, and for discrete factors, the levels within each factor. | Mandatory | Table
5.2.3. Assay experimental design | A description or table that must include: Each group or factor listed per section 5.2.2 in MRF and: The number of samples used in each group or factor at a minimum. Should include the sample IDs that can be used to match across the report. Identification of which samples may exhibit covariance (examples include: assayed on the same day, assayed in parallel, assayed on the same physical platform (e.g., chip/glass slide, cartridge, etc. for transcriptomics; LC-MS analytical batch, etc. for metabolomics), processed using the same wash solutions or reagents, processed using the same master mixes (transcriptomics only), littermates in the exposure study, animals which are housed together, etc.). An explicit statement if there is no reason to believe covariance exists between samples, and a justification to support this assertion. Identification if any samples are technical replicates of each other, and how those samples are technical replicates (i.e., define what makes the samples technical replicates). | Mandatory | Table or Free text
5.2.4. Multivariate statistical analysis – unsupervised | Name and description of the multivariate method | Mandatory | Free text
| The groups or conditions included in the analysis | Mandatory | Free text
| The name and description of the variable selection method (If variable selection used) | Mandatory if used | Free text
| Selected variables (If variable selection used) | Mandatory if used | Free text
| Parameter settings (e.g. scaling method) |  | Free text
| Output of the multivariate method including plots (e.g. PCA scores, loadings, proportion of variance explained). | Mandatory | Plot(s) and Table(s)
| Methods should include clear citations to literature describing them | Mandatory | Free text
5.2.5. Multivariate statistical analysis – supervised | Name and description of the multivariate method used | Mandatory | Free text
| The groups, conditions or factors contrasted or examined in the analysis | Mandatory | Free text
| The name and description of the variable selection method used (If variable selection used) | Mandatory if used | Free text
| Selected variables (If variable selection used) | Mandatory if used | Free text
| Parameter settings (e.g. scaling method) | Mandatory | Free text
| Output of the multivariate method including plots (e.g. PLS scores, loadings/weights, regression coefficients, proportion of variance in outcome explained by the model). | Mandatory | Plot(s) and Table(s)
| Methods should include clear citations to literature describing them | Mandatory | Free text
5.2.6. Multivariate statistical analysis - validation | Name and description of the model validation method used | Mandatory | Free text
| Parameter settings | Mandatory | Free text
| Validation statistics (Q2, error rate, etc.) | Mandatory | Free text
| Methods should include clear citations to literature describing them | Mandatory | Free text
5.2.7. Multivariate statistical analysis - variable importance for feature selection | Name and description of method used for variable importance/selection | Mandatory | Free text
| Details of how significance threshold determined | Mandatory | Free text
| List of features selected by the method including: Feature importance (e.g. VIP value), Feature significance (e.g. p-value, if available). | Mandatory | Free text
| Methods should include clear citations to literature describing them. | Mandatory | Free text
5.1.5. Outputs | Operator must submit a file manifest (either within a report, or as a separate file titled MANIFEST.xyz where .xyz is an appropriate file extension (.txt if a text file, .md if a markdown file, .html if an html file, .pdf if a pdf file) The manifest must include the listing of all files included in the regulatory application package specific to the DAM data. Each file in the manifest must be accompanied by a description of the file If the file being described is a tabular file, then the rows and columns must be described so that anyone can understand the contents of the file. The manifest file must be in a standard format that is easily readable in non-proprietary software. The manifest file must not be in a binary format, such as Word, Excel, or other formats that require special software that is not freely available, or where the format might change significantly and not be backwards compatible (e.g., Excel and Word files are binary formats and although freeware exists that can read these files, they may not be able to be read easily in the future). | Mandatory | Free text